## Sheet1
Part | Price | Required per Unit | Total Part Price
120V 40A AC Relay | 20.95 | 2 | 41.9 | https://www.lvelectronics.com/details/item?itemid=PICKER%20PC740-2C-C3-120A#
5V DC Relay | 25.07 | 2 | 50.14 | https://www.digikey.com/en/products/detail/panasonic-electric-works/SP2-DC5V/649191
5V DC Relay Screw Terminal | 11.32 | 2 | 22.64 | https://www.digikey.com/en/products/detail/panasonic-electric-works/SP2-SF/570886
6V DC Relay SPDT 40A | 3.15 | 2 | 6.3 | https://www.digikey.com/en/products/detail/cit-relay-and-switch/A2M1CSQ6VDC1-6/14001769
117/24V 40A AC Transformer | 212.3 | 1 | 212.3 | https://www.newark.com/hammond/1182w12/toroid-1000va-50-60hz-12-12v-rohs/dp/31AJ8188?ost=1182w12
Lithium Battery (150Ah) | 299.99 | 1 | 299.99 | https://www.amazon.com/ECO-WORTHY-Rechargeable-Phosphate-Protection-Motorhome/dp/B096FGMLNZ/ref=cm_cr_arp_d_product_top?ie=UTF8 | https://www.eco-worthy.com/products/lifepo4-12v-150ah-lithium-iron-phosphate-battery?gad_source=1&gclid=Cj0KCQiA35urBhDCARIsAOU7QwmNC6sCsMfZsIR1xY9ODtKcgLc93Hmrpi4qbKSKEoFwbyhEi1Rc5ysaAl45EALw_wcB
AC Voltage Measurement Module | 6.99 | 3 | 20.97 | https://www.amazon.com/dp/B07D1WP884?psc=1&ref=ppx_yo2ov_dt_b_product_details
Microcontroller-Arduino Mega 2560 | 48.4 | 1 | 48.4
TFT Display (+$6 shipping) | 29.95 | 1 | 29.95 | https://www.adafruit.com/product/1770
RTC (Real Time Clock) | 11.49 | 1 | 11.49 | https://www.amazon.com/gp/product/B082LTHR28/ref=ppx_yo_dt_b_asin_image_o00_s01?ie=UTF8&psc=1
Buck Converter | 1.29 | 3 | 3.87 | https://www.amazon.com/gp/product/B07VVXF7YX/ref=ppx_yo_dt_b_search_asin_image?ie=UTF8&th=1
ULN2803A-Relay Driver Board | 3.22 | 1 | 3.22 | https://www.amazon.com/dp/B08QNHW4G4?psc=1&ref=ppx_yo2ov_dt_b_product_details
Fuse Holder | 1.99 | 3 | 5.97 | https://www.amazon.com/Joinfworld-Holder-Holders-Pre-Soldered-Fast-Blow/dp/B0BF9LDW1P/ref=sxin_14_pa_sp_search_thematic_sspa?content-id=amzn1.sym.67e1b7a1-40ab-46eb-9982-042b7aecb8bf%3Aamzn1.sym.67e1b7a1-40ab-46eb-9982-042b7aecb8bf&crid=3K5CTV64PPH2A&cv_ct_cx=fuse+holder&keywords=fuse+holder&pd_rd_i=B0BF9LDW1P&pd_rd_r=04c9ef33-482d-42bf-a50e-121d9b81b32f&pd_rd_w=VwUcf&pd_rd_wg=GEClI&pf_rd_p=67e1b7a1-40ab-46eb-9982-042b7aecb8bf&pf_rd_r=2HD36JJV7XK6HJ7EN5Y5&qid=1702785574&sbo=RZvfv%2F%2FHxDF%2BO5021pAnSA%3D%3D&sprefix=fuse%2Caps%2C253&sr=1-1-9cb21890-b538-4fe1-898e-473f8bb6c1fa-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9zZWFyY2hfdGhlbWF0aWM&psc=1
SPST Switch | 2.21 | 1 | 2.21 | https://www.amazon.com/gp/product/B01M3U9V8Y/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&th=1
Inverter | 56.96 | 1 | 56.96 | https://www.amazon.com/gp/product/B09JZ2HTY9/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
Charger | 108.99 | 1 | 108.99 | https://www.amazon.com/gp/product/B0BZCXNHDV/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1 | https://www.eco-worthy.com/collections/charge-controllers-inverters/products/12v-20a-40a-dc-to-dc-charger-on-board-mppt-battery-charger
Battery Ring Terminals | 2.49 | 2 | 4.98 | https://www.amazon.com/dp/B08HR1BD62?psc=1&ref=ppx_yo2ov_dt_b_product_details
AC Input Connectors | 4.17 | 2 | 8.34 | https://www.amazon.com/gp/product/B081VJ22G4/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
AC Output Connectors | 2.99 | 2 | 5.98 | https://www.amazon.com/gp/product/B092VQNKN7/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
Fans | 5.99 | 8 | 47.92 | https://www.amazon.com/gp/product/B0CLGMH1R8/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&th=1
Enclosure | 15.98 | 1 | 15.98 | https://www.homedepot.com/p/HDX-27-Gal-Storage-Tote-in-Clear-with-Yellow-Lid-206231/317211766
Rectifier PCB | 0 | 2 | 0
TIP2955 Transistor | 2.37 | 12 | 28.44 | https://www.digikey.com/en/products/detail/stmicroelectronics/TIP2955/603633
LT317A Voltage Regulator | 6.44 | 2 | 12.88 | https://www.digikey.com/en/products/detail/analog-devices-inc/LT317AT-PBF/891897
Diode | 2.22 | 2 | 4.44 | https://www.digikey.com/en/products/detail/stmicroelectronics/STPS60SM200CW/2700612
Full Bridge Rectifier | 1.85 | 2 | 3.7 | https://www.digikey.com/en/products/detail/panjit-international-inc/GBJ5010-T0-00601/16639574
Capacitor-10000uF 50V | 5.73 | 12 | 68.76 | https://www.digikey.com/en/products/detail/cornell-dubilier-knowles/380LX103M050J052/1699321
Capacitor-1uF 25V | 0 | 2 | 0
Capacitor-0.1uF 25V | 0 | 2 | 0
Resistor-50ohm | 0 | 2 | 0
Resistor-0.1ohm 5W | 0 | 12 | 0
Screw Terminal-Large-2 Pin | 1.25 | 2 | 2.5 | https://www.digikey.com/en/products/detail/amphenol-anytek/T70243500000G/2261340
Screw Terminal-Small-3 Pin (for transistor connections) | 0.14 | 12 | 1.68 | https://www.amazon.com/gp/product/B07H5G7GC6/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
Screw Post | 4.51 | 8 | 36.08 | https://www.digikey.com/en/products/detail/w%C3%BCrth-elektronik/74655095R/6643999
Fuse Holder | 1.05 | 2 | 2.1 | https://www.digikey.com/en/products/detail/littelfuse-inc/64600001003/151822?s=N4IgTCBcDaIGwBY4AZXIIyoMwgLoF8g
Fuse 1.5A | 0.44 | 2 | 0.88
Heatsink-Full Bridge Rectifier | 9.99 | 2 | 19.98 | https://www.amazon.com/gp/product/B07VMMJCLY/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
Heatsink-Diode | 1.99 | 2 | 3.98 | https://www.amazon.com/gp/product/B08NFBM4Q7/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
Heatsink-Transistors | 17 | 2 | 34 | https://www.heatsinkusa.com/3-500-wide-extruded-aluminum-heatsink/
|  | Total | 1227.92